SCALE

SCALES & BALANCES

FEATURES

- Capacity from 100g to 6000g

- 16.5mm LCD display, attached LED backlight
and loading bar graph

- Rechargeable battery

- Selectable weighing unit

- Percentage weighing, counting, accumulation

- Wind shielding (capacity≤1kg)

- Standard RS-232 interface

- Optional below weighing

- Optional USB interface

TECHNICAL DATA

- External resolution…Up to 100,000

- Keyboard…….……..7 keys

- Display……….……..16.5 mm LCD

- Pan size…………....Round 80mm(100g)
                  Round 120mm(300~1000g) 
                  Round 135mm(≥1500 g)

- Operate temp……...0℃～+40℃

- ADC update.……...≤1/10 second

- Rating………………AC adapter (9V/800mA)

Rechargeable battery（6V/1.2Ah）

Models and specifications to change without notice

DIMENSIONS（mm）

SPECIFICATIONS

| Capacity | 100 g | 300 g | 600 g | 1000 g | 1500 g | 3000 g |
| --- | --- | --- | --- | --- | --- | --- |
| NB |  | 0.01 g | 0.02 g |  | 0.05g | 0.1 g |
| NHB |  | 0.005 g | 0.01g |  | 0.02g | 0.05 g |
| NHB+ | 0.001 g |  |  | 0.01g |  |  |
| Pan size | Ф80mm(100g) Ф120mm(300~1000g) Ф135mm(≥1500 g) |  |  |  |  |  |
| Display | 16.5mm LCD，Attached backlight (on/off/auto selectable) |  |  |  |  |  |
| Internal counts | 1,000,000 |  |  |  |  |  |
| Rating | AC adapter powered (9V/800mA) Internal rechargeable battery（6V/1.2Ah） |  |  |  |  |  |
| Housing | ABS plastic |  |  |  |  |  |
| Gross weight | Cap.≤1000g----2.9 kg Cap.﹥1000g ----2.7kg |  |  |  |  |  |

# NB/NHB SERIES PORTABLE BALANCE